## Elements
Path | Slice Name | Alias(s) | Label | Min | Max | Must Support? | Is Modifier? | Is Summary? | Type(s) | Short | Definition | Comments | Requirements | Default Value | Meaning When Missing | Fixed Value | Pattern | Example | Minimum Value | Maximum Value | Maximum Length | Binding Strength | Binding Description | Binding Value Set | Code | Slicing Discriminator | Slicing Description | Slicing Ordered | Slicing Rules | Base Path | Base Min | Base Max | Condition(s) | Constraint(s) | Mapping: HL7 v2 Mapping | Mapping: RIM Mapping
SampledData |  |  |  | 0 | * |  |  |  |  | SHR SampledData Profile | Data that comes from a series of measurements taken by a device, which may have upper and lower limits. The data type also supports more than one dimension in the data. | The data is not interpretable without at least origin, period, and dimensions, but these are optional to allow a separation between the template of measurement and the actual measurement, such as between DeviceCapabilities and DeviceLog. When providing a summary view (for example with Observation.value[x]) SampledData should be represented with a brief display text such as "Sampled Data". | [18 empty] | 0 |  | ele-1 | ele-1:All FHIR elements must have a @value or children {hasValue() ¦ (children().count() > id.count())} | N/A (but see section 7.14 in v2.7) | SLIST + GLIST
SampledData.id |  |  |  | 0 | 1 |  |  |  | string {[]} {[]} | xml:id (or equivalent in JSON) | unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  |  | n/a
SampledData.extension |  | extensions user content |  | 0 | * |  |  |  | Extension {[]} {[]} | Additional Content defined by implementations | May be used to represent additional information that is not part of the basic definition of the element. In order to make the use of extensions safe and manageable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer is allowed to define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | [13 empty] | value:url} | Extensions are always sliced by (at least) url |  | open | Element.extension | 0 | * |  |  |  | n/a
SampledData.origin |  |  |  | 1 | 1 |  |  | Y | Quantity {[CanonicalType[http://standardhealthrecord.org/fhir/StructureDefinition/shr-core-SimpleQuantity]]} {[]} | Zero value and units | The base quantity that a measured value of zero represents. In addition, this provides the units of the entire measurement series. | [19 empty] | 0 |  |  |  |  | SLIST.origin
SampledData.period |  |  |  | 1 | 1 |  |  | Y | decimal {[]} {[]} | Number of milliseconds between samples | The length of time between sampling times, measured in milliseconds. | This is usually a whole number. | [18 empty] | 0 |  |  |  |  | GLIST.increment
SampledData.factor |  |  |  | 0 | 1 |  |  | Y | decimal {[]} {[]} | Multiply data by this before adding to origin | A correction factor that is applied to the sampled data points before they are added to the origin. |  |  | <valueDecimal xmlns="http://hl7.org/fhir" value="1"/> | [16 empty] | 0 |  |  |  |  | SLIST.factor
SampledData.lowerLimit |  |  |  | 0 | 1 |  |  | Y | decimal {[]} {[]} | Lower limit of detection | The lower limit of detection of the measured points. This is needed if any of the data points have the value "L" (lower than detection limit). | [19 empty] | 0 |  |  |  |  | N/A (use SLIST.digits.nullFlavor)
SampledData.upperLimit |  |  |  | 0 | 1 |  |  | Y | decimal {[]} {[]} | Upper limit of detection | The upper limit of detection of the measured points. This is needed if any of the data points have the value "U" (higher than detection limit). | [19 empty] | 0 |  |  |  |  | N/A (use SLIST.digits.nullFlavor)
SampledData.dimensions |  |  |  | 1 | 1 |  |  | Y | positiveInt {[]} {[]} | Number of sample points at each time point | The number of sample points at each time point. If this value is greater than one, then the dimensions will be interlaced - all the sample points for a point in time will be recorded at once. | If there is more than one dimension, the code for the type of data will define the meaning of the dimensions (typically ECG data). | [18 empty] | 0 |  |  |  |  | N/A (fixed to 1)
SampledData.data |  |  |  | 1 | 1 |  |  |  | string {[]} {[]} | Decimal values with spaces, or "E" ¦ "U" ¦ "L" | String representing data that comes from a series of measurements taken by a device, which may have upper and lower limits. The data type also supports more than one dimension in the data. | [19 empty] | 0 |  |  |  |  | SLIST.digits